## Overview
LDS03A-DOOR | Packets Lost | Packet loss ratio | SF | Generic 4 | Packets Lost | Packet loss ratio | SF
| 0 | 0.00 |  |  | 2 | 4.65
S31-TEMPERATURE | Packets Lost | Packet loss ratio | SF | Generic 5 | Packets Lost | Packet loss ratio | SF
| 1 | 2.27 |  |  | 9 | 20.00
LSNv2-D22-TEMPERATURE | Packets Lost | Packet loss ratio | SF | LNSv2-D23 | Packets Lost | Packet loss ratio | SF
| 1 | 2.27 |  |  | 3 | 7.14
AQS01-L-AIR QUALITY | Packets Lost | Packet loss ratio | SF | Generic 3 | Packets Lost | Packet loss ratio | SF
| 5 | 11.11 |  |  | 1 | 2.27
LHT65N-TEMPERATURE | Packets Lost | Packet loss ratio | SF | LT-22222-L-CONTROLLER | Packets Lost | Packet loss ratio | SF
| 0 | 0.00 |  |  | 7 | 7.53
DDS45-ULTRASSONIC | Packets Lost | Packet loss ratio | SF
| 3 | 6.98
Generic 2 | Packets Lost | Packet loss ratio | SF
| 7 | 17.07
PB01-TEMPERATURE | Packets Lost | Packet loss ratio | SF
| 0 | 0.00
Generic 1 | Packets Lost | Packet loss ratio | SF
| 2 | 4.35

## -1 Floor
LNSv2-D23
[10 empty] | Number of Transmissions | Total packets lost | live plr
f_cnt | Temp_black | Temp_White | Temp_Red | RSSI | SNR | SF | Bw | Packets Loss | Packet Loss Ratio | 42 | 3 | 6.98
3400 | 14.3 | 14.2 | 14.7 | -109 | 3.2 | 12 | 125000 | 0 | 0.00
3401 | 14.3 | 14.3 | 14.7 | -92 | 3.2 | 12 | 125000 | 0 | 0.00
3403 | 14.3 | 14.3 | 14.8 | -108 | 4 | 12 | 125000 | 1 | 25.00
3405 | 14.3 | 14.3 | 14.8 | -108 | 3.8 | 12 | 125000 | 2 | 33.33
3406 | 14.3 | 14.3 | 14.8 | -108 | 3.5 | 12 | 125000 | 2 | 28.57
3407 | 14.3 | 14.3 | 14.8 | -91 | 3.2 | 12 | 125000 | 2 | 25.00
3408 | 14.3 | 14.1 | 14.6 | -108 | 3 | 12 | 125000 | 2 | 22.22
3409 | 14.3 | 14.2 | 14.7 | -91 | 5 | 12 | 125000 | 2 | 20.00
3410 | 14.3 | 14.2 | 14.7 | -91 | 4 | 12 | 125000 | 2 | 18.18
3411 | 14.2 | 14.2 | 14.7 | -116 | -4 | 12 | 125000 | 2 | 16.67
3412 | 14.1 | 14 | 14.6 | -92 | 3.2 | 12 | 125000 | 2 | 15.38
3413 | 14.2 | 14.1 | 14.6 | -116 | -5.5 | 12 | 125000 | 2 | 14.29
3414 | 14 | 13.8 | 14.5 | -108 | 3.8 | 12 | 125000 | 2 | 13.33
3415 | 14.1 | 14 | 14.6 | -93 | 3.5 | 12 | 125000 | 2 | 12.50
3416 | 14.2 | 14.1 | 14.6 | -111 | 2.8 | 12 | 125000 | 2 | 11.76
3417 | 14.3 | 14.1 | 14.6 | -94 | 3 | 12 | 125000 | 2 | 11.11
3418 | 14.3 | 14.2 | 14.7 | -93 | 3.2 | 12 | 125000 | 2 | 10.53
3419 | 14.3 | 14.3 | 14.7 | -111 | 2.2 | 12 | 125000 | 2 | 10.00
3420 | 14.3 | 14.3 | 14.7 | -109 | 2.8 | 12 | 125000 | 2 | 9.52
3421 | 14.3 | 14.3 | 14.7 | -111 | 2 | 12 | 125000 | 2 | 09.09
3422 | 14.3 | 14.3 | 14.7 | -110 | 2.2 | 12 | 125000 | 2 | 8.70
3423 | 14.3 | 14.3 | 14.7 | -110 | 2.8 | 12 | 125000 | 2 | 8.33
3424 | 14.3 | 14.3 | 14.7 | -109 | 4.2 | 12 | 125000 | 2 | 8.00
3425 | 14.3 | 14.2 | 14.7 | -93 | 3.8 | 12 | 125000 | 2 | 7.69
3426 | 14.3 | 14.3 | 14.7 | -93 | 3 | 12 | 125000 | 2 | 7.41
3427 | 14.3 | 14.3 | 14.8 | -109 | 2.5 | 12 | 125000 | 2 | 7.14
3428 | 14.3 | 14.3 | 14.8 | -109 | 4 | 12 | 125000 | 2 | 6.90
3429 | 14.3 | 14.3 | 14.8 | -109 | 4.5 | 12 | 125000 | 2 | 6.67
3430 | 14.4 | 14.3 | 14.7 | -109 | 3 | 12 | 125000 | 2 | 6.45
3432 | 14.4 | 14.3 | 14.8 | -110 | 2.2 | 12 | 125000 | 3 | 09.09
3433 | 14.4 | 14.3 | 14.8 | -94 | 4.2 | 12 | 125000 | 3 | 8.82
3434 | 14.4 | 14.3 | 14.8 | -91 | 3.8 | 12 | 125000 | 3 | 8.57
3435 | 14.4 | 14.3 | 14.8 | -109 | 3 | 12 | 125000 | 3 | 8.33
3436 | 14.3 | 14.3 | 14.8 | -85 | -9.8 | 12 | 125000 | 3 | 8.11
3437 | 14.3 | 14.3 | 14.8 | -108 | 3.5 | 12 | 125000 | 3 | 7.89
3438 | 14.3 | 14.3 | 14.8 | -109 | 2.5 | 12 | 125000 | 3 | 7.69
3439 | 14.3 | 14.3 | 14.8 | -92 | 3 | 12 | 125000 | 3 | 7.50
3440 | 14.3 | 14.3 | 14.8 | -108 | 3.5 | 12 | 125000 | 3 | 7.32
3441 | 14.3 | 14.3 | 14.8 | -91 | 3.8 | 12 | 125000 | 3 | 7.14

## Open Space
PB01-TEMPERATURE
Nr of Transmissions
fnt | alarm | temperature | humidity | RSSI | SNR | SF | Bdw | Packets Lost | Packet Loss Ratio |  | 44
175 | FALSE | 24.3 | 31.5 | -80 | 6 | 12 | 125000 | 0 | 0
176 | FALSE | 24.3 | 31.4 | -82 | 6 | 12 | 125000 | 0 | 0.00
177 | FALSE | 24.2 | 31.6 | -99 | 5.5 | 12 | 125000 | 0 | 0.00
178 | FALSE | 24.1 | 31.5 | -98 | 6 | 12 | 125000 | 0 | 0.00
179 | FALSE | 24 | 31.5 | -102 | 5 | 12 | 125000 | 0 | 0.00
180 | FALSE | 24 | 31.6 | -99 | 4.8 | 12 | 125000 | 0 | 0.00
181 | FALSE | 23.9 | 31.5 | -99 | 5.5 | 12 | 125000 | 0 | 0.00
182 | FALSE | 23.9 | 31.6 | -99 | 5.2 | 12 | 125000 | 0 | 0.00
183 | FALSE | 23.8 | 31.6 | -81 | 6.2 | 12 | 125000 | 0 | 0.00
184 | FALSE | 23.8 | 31.6 | -79 | 4.5 | 12 | 125000 | 0 | 0.00
185 | FALSE | 23.7 | 31.6 | -98 | 6 | 12 | 125000 | 0 | 0.00
186 | FALSE | 23.7 | 31.7 | -81 | 6.5 | 12 | 125000 | 0 | 0.00
187 | FALSE | 23.6 | 31.8 | -97 | 5.5 | 12 | 125000 | 0 | 0.00
188 | FALSE | 23.6 | 31.8 | -97 | 6.5 | 12 | 125000 | 0 | 0.00
189 | FALSE | 23.5 | 31.8 | -79 | 4 | 12 | 125000 | 0 | 0.00
190 | FALSE | 23.5 | 31.8 | -98 | 5.8 | 12 | 125000 | 0 | 0.00
191 | FALSE | 23.5 | 31.9 | -80 | 6.8 | 12 | 125000 | 0 | 0.00
192 | FALSE | 23.4 | 31.9 | -81 | 5.8 | 12 | 125000 | 0 | 0.00
193 | FALSE | 23.3 | 31.9 | -98 | 5.8 | 12 | 125000 | 0 | 0.00
194 | FALSE | 23.3 | 31.9 | -82 | 6.8 | 12 | 125000 | 0 | 0.00
195 | FALSE | 23.2 | 32 | -100 | 6 | 12 | 125000 | 0 | 0.00
196 | FALSE | 23.2 | 32 | -98 | 6 | 12 | 125000 | 0 | 0.00
197 | FALSE | 23.1 | 32.1 | -81 | 5.2 | 12 | 125000 | 0 | 0.00
198 | FALSE | 23.1 | 32.1 | -109 | 4.5 | 12 | 125000 | 0 | 0.00
199 | FALSE | 23 | 32.2 | -81 | 6.5 | 12 | 125000 | 0 | 0.00
200 | FALSE | 23 | 32.2 | -81 | 6.2 | 12 | 125000 | 0 | 0.00
201 | FALSE | 22.9 | 32.2 | -97 | 7.2 | 12 | 125000 | 0 | 0.00
202 | FALSE | 22.9 | 32.3 | -97 | 6.2 | 12 | 125000 | 0 | 0.00
203 | FALSE | 22.8 | 32.2 | -98 | 5.8 | 12 | 125000 | 0 | 0.00
204 | FALSE | 22.8 | 32.2 | -99 | 4.8 | 12 | 125000 | 0 | 0.00
205 | FALSE | 22.8 | 32.2 | -83 | 5.5 | 12 | 125000 | 0 | 0.00
206 | FALSE | 22.8 | 32.1 | -100 | 6.5 | 12 | 125000 | 0 | 0.00
207 | FALSE | 22.7 | 32.1 | -82 | 5.5 | 12 | 125000 | 0 | 0.00
208 | FALSE | 22.7 | 32.1 | -80 | 6.2 | 12 | 125000 | 0 | 0.00
209 | FALSE | 22.7 | 32.1 | -98 | 5.8 | 12 | 125000 | 0 | 0.00
210 | FALSE | 22.7 | 32.1 | -83 | 7.2 | 12 | 125000 | 0 | 0.00
211 | FALSE | 22.7 | 32 | -99 | 6 | 12 | 125000 | 0 | 0.00
212 | FALSE | 22.7 | 32.1 | -99 | 5 | 12 | 125000 | 0 | 0.00
213 | FALSE | 22.7 | 32.1 | -81 | 6 | 12 | 125000 | 0 | 0.00
214 | FALSE | 22.6 | 32.1 | -99 | 5 | 12 | 125000 | 0 | 0.00
215 | FALSE | 22.6 | 32.1 | -81 | 7 | 12 | 125000 | 0 | 0.00
216 | FALSE | 22.6 | 32.2 | -82 | 8 | 12 | 125000 | 0 | 0.00
217 | FALSE | 22.6 | 32.2 | -97 | 6.5 | 12 | 125000 | 0 | 0.00
218 | TRUE | 22.5 | 32.2 | -82 | 6.8 | 12 | 125000 | 0 | 0.00
AQS01-L-AIR QUALITY
Nr Transmitions
fcnt | air-presure | Co2 | Humidity | Temperature | RSSI | SNR | SF | Bdw | Packets Lost | Packet Loss Ratio | 45
2680 | 1015.1 | 400 | 27.6 | 23.7 | -106 | 4.5 | 12 | 125000 | 0 | 0.00
2681 | 1015.1 | 400 | 27.9 | 23.6 | -88 | 6 | 12 | 125000 | 0 | 0.00
2682 | 1015.1 | 400 | 28 | 23.6 | -106 | 5 | 12 | 125000 | 0 | 0.00
2683 | 1015.2 | 400 | 28 | 23.5 | -89 | 5 | 12 | 125000 | 0 | 0.00
2684 | 1015.2 | 400 | 28 | 23.5 | -115 | 3.5 | 12 | 125000 | 0 | 0.00
2685 | 1015.2 | 400 | 28.1 | 23.5 | -105 | 5 | 12 | 125000 | 0 | 0.00
2686 | 1015.2 | 400 | 28.1 | 23.4 | -89 | 4.5 | 12 | 125000 | 0 | 0.00
2687 | 1015.2 | 400 | 28 | 23.3 | -105 | 3 | 12 | 125000 | 0 | 0.00
2688 | 1015.1 | 400 | 28 | 23.3 | -105 | 3.8 | 12 | 125000 | 0 | 0.00
2689 | 1015.1 | 400 | 28 | 23.3 | -106 | 5 | 12 | 125000 | 0 | 0.00
2690 | 1015.2 | 400 | 28.1 | 23.2 | -107 | 4 | 12 | 125000 | 0 | 0.00
2691 | 1015.1 | 400 | 28.1 | 23.2 | -87 | 4 | 12 | 125000 | 0 | 0.00
2692 | 1015.1 | 400 | 28.2 | 23.1 | -88 | 5 | 12 | 125000 | 0 | 0.00
2693 | 1015.2 | 400 | 28.3 | 23.1 | -105 | 4.2 | 12 | 125000 | 0 | 0.00
2695 | 1015.2 | 400 | 28.3 | 23 | -105 | 4 | 12 | 125000 | 1 | 6.25
2696 | 1015.2 | 400 | 28.4 | 23 | -105 | 3.8 | 12 | 125000 | 1 | 5.88
2697 | 1015.2 | 400 | 28.4 | 22.9 | -107 | 4 | 12 | 125000 | 1 | 5.56
2698 | 1015.3 | 400 | 28.4 | 22.9 | -106 | 4.5 | 12 | 125000 | 1 | 5.26
2699 | 1015.4 | 400 | 28.5 | 22.8 | -88 | 6.2 | 12 | 125000 | 1 | 5.00
2701 | 1015.4 | 400 | 28.6 | 22.7 | -105 | 3.8 | 12 | 125000 | 2 | 09.09
2702 | 1015.4 | 400 | 28.6 | 22.7 | -105 | 3.8 | 12 | 125000 | 2 | 8.70
2703 | 1015.5 | 400 | 28.6 | 22.7 | -106 | 3.8 | 12 | 125000 | 2 | 8.33
2705 | 1015.5 | 400 | 28.7 | 22.6 | -89 | 4.2 | 12 | 125000 | 3 | 11.54
2706 | 1015.5 | 400 | 28.8 | 22.5 | -108 | 2.5 | 12 | 125000 | 3 | 11.11
2707 | 1015.5 | 400 | 28.8 | 22.5 | -89 | 4.2 | 12 | 125000 | 3 | 10.71
2708 | 1015.5 | 400 | 28.8 | 22.4 | -89 | 3.8 | 12 | 125000 | 3 | 10.34
2709 | 1015.5 | 400 | 28.7 | 22.4 | -106 | 4.2 | 12 | 125000 | 3 | 10.00
2710 | 1015.6 | 400 | 28.7 | 22.4 | -106 | 4.2 | 12 | 125000 | 3 | 9.68
2711 | 1015.6 | 400 | 28.7 | 22.4 | -109 | 4.5 | 12 | 125000 | 3 | 9.38
2712 | 1015.6 | 400 | 28.6 | 22.3 | -111 | 2.2 | 12 | 125000 | 3 | 09.09
2713 | 1015.6 | 400 | 28.6 | 22.3 | -90 | 4.2 | 12 | 125000 | 3 | 8.82
2715 | 1015.6 | 400 | 28.5 | 22.2 | -90 | 4 | 12 | 125000 | 4 | 11.11
2716 | 1015.5 | 400 | 28.6 | 22.2 | -90 | 2.8 | 12 | 125000 | 4 | 10.81
2718 | 1015.6 | 400 | 28.6 | 22.2 | -90 | 3.2 | 12 | 125000 | 5 | 12.82
2719 | 1015.6 | 400 | 28.6 | 22.2 | -107 | 3.5 | 12 | 125000 | 5 | 12.50
2720 | 1015.7 | 400 | 28.6 | 22.2 | -106 | 3.8 | 12 | 125000 | 5 | 12.20
2721 | 1015.7 | 400 | 28.7 | 22.1 | -88 | 5.5 | 12 | 125000 | 5 | 11.90
2722 | 1015.7 | 400 | 28.7 | 22.1 | -106 | 3.8 | 12 | 125000 | 5 | 11.63
2723 | 1015.8 | 400 | 28.8 | 22.1 | -88 | 3.8 | 12 | 125000 | 5 | 11.36
2724 | 1015.7 | 400 | 28.8 | 22.1 | -101 | 3 | 12 | 125000 | 5 | 11.11
Generic 1
Nr of transmissions
fcnt | alarm | pin status | total_pulse | RSSI | SNR | SF | BDw | Packets Lost | Packet Loss Ratio |  | 46
361 | FALSE | DISCONNECT | 2 | -103 | -11.8 | 12 | 125000 | 0 | 0.00
362 | FALSE | DISCONNECT | 2 | -117 | -14.5 | 12 | 125000 | 0 | 0.00
363 | FALSE | DISCONNECT | 2 | -117 | -17.8 | 12 | 125000 | 0 | 0.00
364 | FALSE | DISCONNECT | 2 | -102 | -13.5 | 12 | 125000 | 0 | 0.00
365 | FALSE | DISCONNECT | 2 | -118 | -18.2 | 12 | 125000 | 0 | 0.00
366 | FALSE | DISCONNECT | 2 | -102 | -14 | 12 | 125000 | 0 | 0.00
367 | FALSE | DISCONNECT | 2 | -101 | -15.8 | 12 | 125000 | 0 | 0.00
368 | FALSE | DISCONNECT | 2 | -117 | -12.8 | 12 | 125000 | 0 | 0.00
369 | FALSE | DISCONNECT | 2 | -117 | -18.8 | 12 | 125000 | 0 | 0.00
370 | FALSE | DISCONNECT | 2 | -117 | -14.8 | 12 | 125000 | 0 | 0.00
371 | FALSE | DISCONNECT | 2 | -118 | -17.2 | 12 | 125000 | 0 | 0.00
372 | FALSE | DISCONNECT | 2 | -118 | -10 | 12 | 125000 | 0 | 0.00
375 | FALSE | DISCONNECT | 2 | -103 | -15.2 | 12 | 125000 | 2 | 13.33
376 | FALSE | DISCONNECT | 2 | -117 | -11.5 | 12 | 125000 | 2 | 12.50
377 | FALSE | DISCONNECT | 2 | -103 | -13.8 | 12 | 125000 | 2 | 11.76
378 | FALSE | DISCONNECT | 2 | -117 | -11.8 | 12 | 125000 | 2 | 11.11
379 | FALSE | DISCONNECT | 2 | -117 | -11.5 | 12 | 125000 | 2 | 10.53
380 | FALSE | DISCONNECT | 2 | -103 | -11.5 | 12 | 125000 | 2 | 10.00
381 | FALSE | DISCONNECT | 2 | -117 | -14 | 12 | 125000 | 2 | 9.52
382 | FALSE | DISCONNECT | 2 | -103 | -12 | 12 | 125000 | 2 | 09.09
383 | FALSE | DISCONNECT | 2 | -102 | -12.5 | 12 | 125000 | 2 | 8.70
384 | FALSE | DISCONNECT | 2 | -117 | -14.2 | 12 | 125000 | 2 | 8.33
385 | FALSE | DISCONNECT | 2 | -103 | -12.2 | 12 | 125000 | 2 | 8.00
386 | FALSE | DISCONNECT | 2 | -117 | -13 | 12 | 125000 | 2 | 7.69
387 | FALSE | DISCONNECT | 2 | -117 | -12 | 12 | 125000 | 2 | 7.41
388 | FALSE | DISCONNECT | 2 | -118 | -8.2 | 12 | 125000 | 2 | 7.14
389 | FALSE | DISCONNECT | 2 | -118 | -14.5 | 12 | 125000 | 2 | 6.90
390 | FALSE | DISCONNECT | 2 | -102 | -10.8 | 12 | 125000 | 2 | 6.67
391 | FALSE | DISCONNECT | 2 | -103 | -15 | 12 | 125000 | 2 | 6.45
392 | FALSE | DISCONNECT | 2 | -116 | -13.8 | 12 | 125000 | 2 | 6.25
393 | FALSE | DISCONNECT | 2 | -102 | -13.2 | 12 | 125000 | 2 | 06.06
394 | FALSE | DISCONNECT | 2 | -117 | -12.2 | 12 | 125000 | 2 | 5.88
395 | FALSE | DISCONNECT | 2 | -117 | -14.5 | 12 | 125000 | 2 | 5.71
396 | FALSE | DISCONNECT | 2 | -100 | -12.2 | 12 | 125000 | 2 | 5.56
397 | FALSE | DISCONNECT | 2 | -118 | -13 | 12 | 125000 | 2 | 5.41
398 | FALSE | DISCONNECT | 2 | -103 | -14.5 | 12 | 125000 | 2 | 5.26
399 | FALSE | DISCONNECT | 2 | -103 | -11.5 | 12 | 125000 | 2 | 5.13
400 | FALSE | DISCONNECT | 2 | -117 | -13.2 | 12 | 125000 | 2 | 5.00
401 | FALSE | DISCONNECT | 2 | -102 | -14 | 12 | 125000 | 2 | 4.88
402 | FALSE | DISCONNECT | 2 | -117 | -12.2 | 12 | 125000 | 2 | 4.76
403 | FALSE | DISCONNECT | 2 | -117 | -12.5 | 12 | 125000 | 2 | 4.65
404 | FALSE | DISCONNECT | 2 | -118 | -12.2 | 10 | 125000 | 2 | 4.55
405 | FALSE | DISCONNECT | 2 | -118 | -11.8 | 10 | 125000 | 2 | 4.44
406 | FALSE | DISCONNECT | 2 | -102 | -12.8 | 10 | 125000 | 2 | 4.35
LT-22222-L-CONTROLLER
Nr of transmissions
fcnt | rele state | rssi | snr | sf | bdw | packets lost | packet loss ratio |  |  |  | 93
411 | OFF | -106 | 3.8 | 12 | 125000 | 0 | 0.00
412 | OFF | -86 | 3.8 | 12 | 125000 | 0 | 0.00
413 | ON | -102 | 3.8 | 12 | 125000 | 0 | 0.00
414 | OFF | -105 | 5.5 | 12 | 125000 | 0 | 0.00
416 | OFF | -108 | 3 | 12 | 125000 | 1 | 16.67
417 | ON | -88 | 4.5 | 12 | 125000 | 1 | 14.29
418 | OFF | -104 | 5.2 | 12 | 125000 | 1 | 12.50
419 | ON | -107 | 3.5 | 12 | 125000 | 1 | 11.11
420 | OFF | -88 | 5.5 | 12 | 125000 | 1 | 10.00
421 | ON | -90 | 4.2 | 12 | 125000 | 1 | 09.09
422 | OFF | -107 | 3.5 | 12 | 125000 | 1 | 8.33
423 | OFF | -103 | 4 | 12 | 125000 | 1 | 7.69
424 | OFF | -87 | 4.5 | 12 | 125000 | 1 | 7.14
425 | OFF | -88 | 4.5 | 12 | 125000 | 1 | 6.67
426 | OFF | -107 | 5 | 12 | 125000 | 1 | 6.25
427 | ON | -106 | 5 | 12 | 125000 | 1 | 5.88
428 | OFF | -88 | 5.5 | 12 | 125000 | 1 | 5.56
429 | OFF | -88 | 5 | 12 | 125000 | 1 | 5.26
430 | ON | -106 | 4 | 12 | 125000 | 1 | 5.00
431 | OFF | -104 | 6.5 | 12 | 125000 | 1 | 4.76
432 | OFF | -87 | 3.5 | 12 | 125000 | 1 | 4.55
433 | OFF | -88 | 5 | 12 | 125000 | 1 | 4.35
434 | OFF | -103 | 4.2 | 12 | 125000 | 1 | 4.17
435 | ON | -103 | 4.8 | 12 | 125000 | 1 | 4.00
436 | OFF | -104 | 4.5 | 12 | 125000 | 1 | 3.85
437 | ON | -89 | 4 | 12 | 125000 | 1 | 3.70
438 | OFF | -104 | 3.8 | 12 | 125000 | 1 | 3.57
440 | ON | -104 | 4.5 | 12 | 125000 | 2 | 6.67
441 | OFF | -86 | 4 | 12 | 125000 | 2 | 6.45
442 | OFF | -102 | 5.8 | 12 | 125000 | 2 | 6.25
443 | ON | -103 | 4 | 12 | 125000 | 2 | 06.06
444 | ON | -106 | 5.2 | 12 | 125000 | 2 | 5.88
445 | OFF | -86 | 7.2 | 12 | 125000 | 2 | 5.71
446 | OFF | -103 | 6.5 | 12 | 125000 | 2 | 5.56
447 | OFF | -104 | 4 | 12 | 125000 | 2 | 5.41
448 | OFF | -86 | 5.2 | 12 | 125000 | 2 | 5.26
449 | ON | -84 | 2 | 12 | 125000 | 2 | 5.13
450 | OFF | -103 | 5 | 12 | 125000 | 2 | 5.00
451 | OFF | -103 | 4.5 | 12 | 125000 | 2 | 4.88
452 | ON | -105 | 5.5 | 12 | 125000 | 2 | 4.76
453 | OFF | -86 | 6.8 | 12 | 125000 | 2 | 4.65
454 | OFF | -103 | 5 | 12 | 125000 | 2 | 4.55
455 | OFF | -103 | 5.5 | 12 | 125000 | 2 | 4.44
456 | OFF | -105 | 5.2 | 12 | 125000 | 2 | 4.35
457 | ON | -86 | 3.8 | 12 | 125000 | 2 | 4.26
459 | OFF | -107 | 5.2 | 12 | 125000 | 3 | 6.12
460 | ON | -87 | 5.5 | 12 | 125000 | 3 | 6.00
461 | OFF | -86 | 4.8 | 12 | 125000 | 3 | 5.88
462 | OFF | -103 | 4.5 | 12 | 125000 | 3 | 5.77
463 | ON | -107 | 3.8 | 12 | 125000 | 3 | 5.66
464 | OFF | -87 | 5.8 | 12 | 125000 | 3 | 5.56
465 | OFF | -86 | 7.2 | 12 | 125000 | 3 | 5.45
466 | OFF | -103 | 6.5 | 12 | 125000 | 3 | 5.36
467 | OFF | -108 | 3 | 12 | 125000 | 3 | 5.26
468 | ON | -87 | 4.8 | 12 | 125000 | 3 | 5.17
469 | OFF | -88 | 5.2 | 12 | 125000 | 3 | 05.08
470 | OFF | -105 | 4.2 | 12 | 125000 | 3 | 5.00
471 | OFF | -105 | 4 | 12 | 125000 | 3 | 4.92
472 | OFF | -105 | 5.5 | 12 | 125000 | 3 | 4.84
474 | OFF | -104 | 4.2 | 12 | 125000 | 4 | 6.25
475 | OFF | -104 | 4.5 | 12 | 125000 | 4 | 6.15
478 | OFF | -102 | 5.5 | 12 | 125000 | 6 | 8.82
479 | ON | -104 | 4 | 12 | 125000 | 6 | 8.70
480 | OFF | -85 | 5 | 12 | 125000 | 6 | 8.57
481 | ON | -87 | 5.5 | 12 | 125000 | 6 | 8.45
482 | OFF | -102 | 5.2 | 12 | 125000 | 6 | 8.33
483 | ON | -104 | 3.8 | 12 | 125000 | 6 | 8.22
484 | OFF | -105 | 4 | 12 | 125000 | 6 | 8.11
485 | OFF | -88 | 5.2 | 12 | 125000 | 6 | 8.00
486 | ON | -105 | 3.8 | 12 | 125000 | 6 | 7.89
487 | OFF | -106 | 4.8 | 12 | 125000 | 6 | 7.79
488 | OFF | -87 | 4.5 | 12 | 125000 | 6 | 7.69
489 | ON | -89 | 3.8 | 12 | 125000 | 6 | 7.59
490 | OFF | -105 | 4.8 | 12 | 125000 | 6 | 7.50
491 | ON | -106 | 4.8 | 12 | 125000 | 6 | 7.41
492 | OFF | -108 | 3.8 | 12 | 125000 | 6 | 7.32
493 | OFF | -88 | 5.5 | 12 | 125000 | 6 | 7.23
494 | OFF | -106 | 3.8 | 12 | 125000 | 6 | 7.14
495 | OFF | -107 | 4.5 | 12 | 125000 | 6 | 07.06
496 | ON | -86 | -0.8 | 12 | 125000 | 6 | 6.98
497 | OFF | -87 | 4.5 | 12 | 125000 | 6 | 6.90
498 | OFF | -104 | 4.8 | 12 | 125000 | 6 | 6.82
499 | ON | -109 | 1.2 | 12 | 125000 | 6 | 6.74
500 | ON | -86 | 4.5 | 12 | 125000 | 6 | 6.67
502 | OFF | -86 | 4.8 | 12 | 125000 | 7 | 7.61
503 | OFF | -103 | 4.8 | 12 | 125000 | 7 | 7.53

## M building
Generic 4
nr of transmissions
fcnt | alarm | pin status | total_pulse | RSSI | SNR | SF | BDw | Packets Lost | Packet Loss Ratio | 43
361 | FALSE | DISCONNECT | 2 | -103 | -11.8 | 12 | 125000 | 0 | 0.00
362 | FALSE | DISCONNECT | 2 | -117 | -14.5 | 12 | 125000 | 0 | 0.00
363 | FALSE | DISCONNECT | 2 | -117 | -17.8 | 12 | 125000 | 0 | 0.00
364 | FALSE | DISCONNECT | 2 | -102 | -13.5 | 12 | 125000 | 0 | 0.00
365 | FALSE | DISCONNECT | 2 | -118 | -18.2 | 12 | 125000 | 0 | 0.00
366 | FALSE | DISCONNECT | 2 | -102 | -14 | 12 | 125000 | 0 | 0.00
367 | FALSE | DISCONNECT | 2 | -101 | -15.8 | 12 | 125000 | 0 | 0.00
368 | FALSE | DISCONNECT | 2 | -117 | -12.8 | 12 | 125000 | 0 | 0.00
369 | FALSE | DISCONNECT | 2 | -117 | -18.8 | 12 | 125000 | 0 | 0.00
370 | FALSE | DISCONNECT | 2 | -117 | -14.8 | 12 | 125000 | 0 | 0.00
371 | FALSE | DISCONNECT | 2 | -118 | -17.2 | 12 | 125000 | 0 | 0.00
372 | FALSE | DISCONNECT | 2 | -118 | -10 | 12 | 125000 | 0 | 0.00
375 | FALSE | DISCONNECT | 2 | -103 | -15.2 | 12 | 125000 | 2 | 13.33
376 | FALSE | DISCONNECT | 2 | -117 | -11.5 | 12 | 125000 | 2 | 12.50
377 | FALSE | DISCONNECT | 2 | -103 | -13.8 | 12 | 125000 | 2 | 11.76
378 | FALSE | DISCONNECT | 2 | -117 | -11.8 | 12 | 125000 | 2 | 11.11
379 | FALSE | DISCONNECT | 2 | -117 | -11.5 | 12 | 125000 | 2 | 10.53
380 | FALSE | DISCONNECT | 2 | -103 | -11.5 | 12 | 125000 | 2 | 10.00
381 | FALSE | DISCONNECT | 2 | -117 | -14 | 12 | 125000 | 2 | 9.52
382 | FALSE | DISCONNECT | 2 | -103 | -12 | 12 | 125000 | 2 | 09.09
383 | FALSE | DISCONNECT | 2 | -102 | -12.5 | 12 | 125000 | 2 | 8.70
384 | FALSE | DISCONNECT | 2 | -117 | -14.2 | 12 | 125000 | 2 | 8.33
385 | FALSE | DISCONNECT | 2 | -103 | -12.2 | 12 | 125000 | 2 | 8.00
386 | FALSE | DISCONNECT | 2 | -117 | -13 | 12 | 125000 | 2 | 7.69
387 | FALSE | DISCONNECT | 2 | -117 | -12 | 12 | 125000 | 2 | 7.41
388 | FALSE | DISCONNECT | 2 | -118 | -8.2 | 12 | 125000 | 2 | 7.14
389 | FALSE | DISCONNECT | 2 | -118 | -14.5 | 12 | 125000 | 2 | 6.90
390 | FALSE | DISCONNECT | 2 | -102 | -10.8 | 12 | 125000 | 2 | 6.67
391 | FALSE | DISCONNECT | 2 | -103 | -15 | 12 | 125000 | 2 | 6.45
392 | FALSE | DISCONNECT | 2 | -116 | -13.8 | 12 | 125000 | 2 | 6.25
393 | FALSE | DISCONNECT | 2 | -102 | -13.2 | 12 | 125000 | 2 | 06.06
394 | FALSE | DISCONNECT | 2 | -117 | -12.2 | 12 | 125000 | 2 | 5.88
395 | FALSE | DISCONNECT | 2 | -117 | -14.5 | 12 | 125000 | 2 | 5.71
396 | FALSE | DISCONNECT | 2 | -100 | -12.2 | 12 | 125000 | 2 | 5.56
397 | FALSE | DISCONNECT | 2 | -118 | -13 | 12 | 125000 | 2 | 5.41
398 | FALSE | DISCONNECT | 2 | -103 | -14.5 | 12 | 125000 | 2 | 5.26
399 | FALSE | DISCONNECT | 2 | -103 | -11.5 | 12 | 125000 | 2 | 5.13
400 | FALSE | DISCONNECT | 2 | -117 | -13.2 | 12 | 125000 | 2 | 5.00
401 | FALSE | DISCONNECT | 2 | -102 | -14 | 12 | 125000 | 2 | 4.88
402 | FALSE | DISCONNECT | 2 | -117 | -12.2 | 12 | 125000 | 2 | 4.76
403 | FALSE | DISCONNECT | 2 | -117 | -12.5 | 12 | 125000 | 2 | 4.65
Generic 2
Nr of transmissions
fcnt | temp_channel1 | temp_channel2 | RSSI | SNR | SF | Bdw | Packets Lost | Packet Loss Ratio |  | 41
2551 | 19.18 | 14.17 | -102 | -7.5 | 12 | 125000 | 0 | 0.00
2552 | 19.14 | 14.17 | -117 | -17.2 | 12 | 125000 | 0 | 0.00
2553 | 19.15 | 14.17 | -117 | -8.5 | 12 | 125000 | 0 | 0.00
2554 | 19.18 | 14.17 | -118 | -17 | 12 | 125000 | 0 | 0.00
2556 | 19.16 | 14.17 | -101 | -8.8 | 12 | 125000 | 1 | 16.67
2557 | 19.15 | 14.16 | -101 | -7 | 12 | 125000 | 1 | 14.29
2558 | 19.15 | 14.16 | -117 | -9 | 12 | 125000 | 1 | 12.50
2559 | 19.12 | 14.16 | -102 | -9.8 | 12 | 125000 | 1 | 11.11
2561 | 19.12 | 14.15 | -117 | -17.2 | 12 | 125000 | 2 | 18.18
2562 | 19.12 | 14.16 | -118 | -15.5 | 12 | 125000 | 2 | 16.67
2564 | 19.11 | 14.16 | -102 | -9 | 12 | 125000 | 2 | 14.29
2565 | 19.11 | 14.15 | -102 | -11.5 | 12 | 125000 | 2 | 13.33
2567 | 19.11 | 14.15 | -102 | -7 | 12 | 125000 | 3 | 17.65
2568 | 19.12 | 14.15 | -117 | -14.8 | 12 | 125000 | 3 | 16.67
2570 | 19.11 | 14.15 | -101 | -6.2 | 12 | 125000 | 4 | 20.00
2571 | 19.1 | 14.15 | -118 | -15 | 12 | 125000 | 4 | 19.05
2572 | 19.11 | 14.14 | -101 | -5.8 | 12 | 125000 | 4 | 18.18
2573 | 19.12 | 14.15 | -102 | -12.8 | 12 | 125000 | 4 | 17.39
2574 | 19.11 | 14.14 | -117 | -14.2 | 12 | 125000 | 4 | 16.67
2575 | 19.11 | 14.15 | -103 | -11.8 | 12 | 125000 | 4 | 16.00
2576 | 19.11 | 14.15 | -117 | -14 | 12 | 125000 | 4 | 15.38
2577 | 19.12 | 14.15 | -118 | -16.2 | 12 | 125000 | 4 | 14.81
2579 | 19.09 | 14.15 | -117 | -17 | 12 | 125000 | 5 | 17.24
2580 | 19.07 | 14.14 | -102 | -14.8 | 12 | 125000 | 5 | 16.67
2581 | 19.06 | 14.13 | -103 | -15.8 | 12 | 125000 | 5 | 16.13
2582 | 19.06 | 14.13 | -118 | -21.5 | 12 | 125000 | 5 | 15.63
2584 | 18.98 | 14.11 | -118 | -20.8 | 12 | 125000 | 6 | 17.65
2585 | 18.97 | 14.1 | -118 | -15.8 | 12 | 125000 | 6 | 17.14
2586 | 19 | 14.11 | -119 | -20.5 | 12 | 125000 | 6 | 16.67
2587 | 19.03 | 14.11 | -118 | -17.5 | 12 | 125000 | 6 | 16.22
2588 | 19.04 | 14.11 | -102 | -11.5 | 12 | 125000 | 6 | 15.79
2589 | 19.04 | 14.12 | -102 | -13.8 | 12 | 125000 | 6 | 15.38
2591 | 19.05 | 14.13 | -117 | -19.2 | 12 | 125000 | 7 | 17.07
Generic 3
nr transmissions
fcnt | RSSI | SNR | SF | Bdw | Packets Lost | Packet Loss Ratio |  |  |  | 44
1229 | -119 | -15.5 | 12 | 125000 | 0 | 0.00
1230 | -116 | -11 | 12 | 125000 | 0 | 0.00
1231 | -101 | -6.5 | 12 | 125000 | 0 | 0.00
1232 | -117 | -9.5 | 12 | 125000 | 0 | 0.00
1233 | -102 | -7.8 | 12 | 125000 | 0 | 0.00
1234 | -100 | -5.8 | 12 | 125000 | 0 | 0.00
1235 | -115 | -4.5 | 12 | 125000 | 0 | 0.00
1236 | -102 | -9.5 | 12 | 125000 | 0 | 0.00
1237 | -117 | -10.5 | 12 | 125000 | 0 | 0.00
1238 | -117 | -10.8 | 12 | 125000 | 0 | 0.00
1239 | -118 | -10 | 12 | 125000 | 0 | 0.00
1240 | -117 | -11 | 12 | 125000 | 0 | 0.00
1241 | -102 | -6.2 | 12 | 125000 | 0 | 0.00
1242 | -101 | -6.8 | 12 | 125000 | 0 | 0.00
1243 | -116 | -9.5 | 12 | 125000 | 0 | 0.00
1244 | -102 | -8 | 12 | 125000 | 0 | 0.00
1245 | -117 | -9 | 12 | 125000 | 0 | 0.00
1246 | -116 | -7.2 | 12 | 125000 | 0 | 0.00
1247 | -118 | -11 | 12 | 125000 | 0 | 0.00
1248 | -117 | -11.2 | 12 | 125000 | 0 | 0.00
1249 | -102 | -7.5 | 12 | 125000 | 0 | 0.00
1250 | -102 | -6.5 | 12 | 125000 | 0 | 0.00
1251 | -117 | -10 | 12 | 125000 | 0 | 0.00
1252 | -102 | -7.8 | 12 | 125000 | 0 | 0.00
1253 | -118 | -12.5 | 12 | 125000 | 0 | 0.00
1254 | -117 | -11 | 12 | 125000 | 0 | 0.00
1255 | -102 | -7.2 | 12 | 125000 | 0 | 0.00
1256 | -117 | -14.8 | 12 | 125000 | 0 | 0.00
1257 | -101 | -5 | 12 | 125000 | 0 | 0.00
1258 | -102 | -6.5 | 12 | 125000 | 0 | 0.00
1259 | -117 | -12.8 | 12 | 125000 | 0 | 0.00
1260 | -117 | -11.2 | 12 | 125000 | 0 | 0.00
1261 | -117 | -8.8 | 12 | 125000 | 0 | 0.00
1263 | -101 | -4.5 | 12 | 125000 | 1 | 2.86
1264 | -117 | -12.2 | 12 | 125000 | 1 | 2.78
1265 | -103 | -10 | 12 | 125000 | 1 | 2.70
1266 | -100 | -11.8 | 12 | 125000 | 1 | 2.63
1267 | -116 | -11.5 | 12 | 125000 | 1 | 2.56
1268 | -116 | -12.2 | 12 | 125000 | 1 | 2.50
1269 | -117 | -12 | 12 | 125000 | 1 | 2.44
1270 | -117 | -9.8 | 12 | 125000 | 1 | 2.38
1271 | -102 | -5.5 | 12 | 125000 | 1 | 2.33
1272 | -118 | -12.2 | 12 | 125000 | 1 | 2.27

## L buillding
Generic 5
Nr of transmissions
fcnt | RSSI | SNR | SF | Bdw | Packets lost | Packet loss ratio | 45
8 | -118 | -18.5 | 12 | 125000 | 0 | 0.00
10 | -103 | -15.2 | 12 | 125000 | 1 | 33.33
12 | -102 | -18.5 | 12 | 125000 | 2 | 40.00
13 | -103 | -15.2 | 12 | 125000 | 2 | 33.33
14 | -117 | -21.8 | 12 | 125000 | 2 | 28.57
15 | -118 | -17.8 | 12 | 125000 | 2 | 25.00
16 | -118 | -19.8 | 12 | 125000 | 2 | 22.22
17 | -117 | -20.2 | 12 | 125000 | 2 | 20.00
18 | -102 | -17.8 | 12 | 125000 | 2 | 18.18
19 | -118 | -22.2 | 12 | 125000 | 2 | 16.67
20 | -102 | -18.2 | 12 | 125000 | 2 | 15.38
22 | -118 | -20.8 | 12 | 125000 | 3 | 20.00
23 | -117 | -19 | 12 | 125000 | 3 | 18.75
24 | -118 | -20.2 | 12 | 125000 | 3 | 17.65
25 | -117 | -19.8 | 12 | 125000 | 3 | 16.67
26 | -118 | -18.8 | 12 | 125000 | 3 | 15.79
27 | -118 | -19.8 | 12 | 125000 | 3 | 15.00
28 | -102 | -17.8 | 12 | 125000 | 3 | 14.29
29 | -102 | -18 | 12 | 125000 | 3 | 13.64
30 | -118 | -16.5 | 12 | 125000 | 3 | 13.04
32 | -118 | -19.8 | 12 | 125000 | 4 | 16.00
34 | -103 | -17.5 | 12 | 125000 | 5 | 18.52
35 | -119 | -21.5 | 12 | 125000 | 5 | 17.86
36 | -103 | -18 | 12 | 125000 | 5 | 17.24
37 | -103 | -20.2 | 12 | 125000 | 5 | 16.67
38 | -117 | -18.5 | 12 | 125000 | 5 | 16.13
39 | -103 | -19.2 | 12 | 125000 | 5 | 15.63
40 | -117 | -18.8 | 12 | 125000 | 5 | 15.15
42 | -119 | -22.8 | 12 | 125000 | 6 | 17.14
44 | -102 | -17.5 | 12 | 125000 | 7 | 18.92
45 | -97 | -20 | 12 | 125000 | 7 | 18.42
46 | -117 | -19.5 | 12 | 125000 | 7 | 17.95
47 | -102 | -17.5 | 12 | 125000 | 7 | 17.50
49 | -117 | -17.8 | 12 | 125000 | 8 | 19.05
50 | -103 | -13.8 | 12 | 125000 | 8 | 18.60
52 | -102 | -14.5 | 12 | 125000 | 9 | 20.00

## 3d hub
LHT65N-TEMPERATURE | [9 empty] | Nr of Transmissions
f_cnt | Temperature Built_in | Temperature Exterior | Humidity Built_in | RSSI | SNR | SF | Bw | Packets Lost | Packet Loss Ratio | 45
2220 | 20.8 | 20.5 | 36 | -44 | 10 | 12 | 125000 | 0 | 0.00
2221 | 20.81 | 20.5 | 36 | -70 | 11 | 12 | 125000 | 0 | 0.00
2222 | 20.83 | 20.5 | 36.2 | -65 | 12.2 | 12 | 125000 | 0 | 0.00
2223 | 20.81 | 20.5 | 36.2 | -63 | 9.2 | 12 | 125000 | 0 | 0.00
2224 | 20.81 | 20.5 | 36.3 | -61 | 10.2 | 12 | 125000 | 0 | 0.00
2225 | 20.84 | 20.5 | 36.3 | -63 | 9.2 | 12 | 125000 | 0 | 0.00
2226 | 20.83 | 20.5 | 36.4 | -62 | 9.8 | 12 | 125000 | 0 | 0.00
2227 | 20.86 | 20.5 | 36.5 | -45 | 9.2 | 12 | 125000 | 0 | 0.00
2228 | 20.86 | 20.5 | 36.6 | -44 | 10.2 | 12 | 125000 | 0 | 0.00
2229 | 20.86 | 20.5 | 36.6 | -64 | 12.2 | 12 | 125000 | 0 | 0.00
2230 | 20.86 | 20.5 | 36.6 | -46 | 11.2 | 12 | 125000 | 0 | 0.00
2231 | 20.87 | 20.5 | 36.7 | -64 | 8.2 | 12 | 125000 | 0 | 0.00
2232 | 20.89 | 20.5 | 36.8 | -63 | 7.5 | 12 | 125000 | 0 | 0.00
2233 | 20.86 | 20.56 | 36.8 | -65 | 10 | 12 | 125000 | 0 | 0.00
2234 | 20.87 | 20.5 | 36.8 | -64 | 11 | 12 | 125000 | 0 | 0.00
2235 | 20.87 | 20.56 | 37 | -43 | 9.5 | 12 | 125000 | 0 | 0.00
2236 | 20.87 | 20.56 | 36.9 | -44 | 6.5 | 12 | 125000 | 0 | 0.00
2237 | 20.89 | 20.56 | 36.9 | -66 | 10 | 12 | 125000 | 0 | 0.00
2238 | 20.89 | 20.56 | 37 | -46 | 12.2 | 12 | 125000 | 0 | 0.00
2239 | 20.91 | 20.56 | 37 | -63 | 7.5 | 12 | 125000 | 0 | 0.00
2240 | 20.91 | 20.56 | 37.1 | -63 | 13 | 12 | 125000 | 0 | 0.00
2241 | 20.91 | 20.56 | 37.1 | -64 | 10.5 | 12 | 125000 | 0 | 0.00
2242 | 20.93 | 20.56 | 37.1 | -64 | 11 | 12 | 125000 | 0 | 0.00
2243 | 20.91 | 20.56 | 37.2 | -43 | 10 | 12 | 125000 | 0 | 0.00
2244 | 20.91 | 20.56 | 37.2 | -45 | 6.5 | 12 | 125000 | 0 | 0.00
2245 | 20.93 | 20.56 | 37.2 | -60 | 11.2 | 12 | 125000 | 0 | 0.00
2246 | 20.94 | 20.56 | 37.3 | -42 | 11.2 | 12 | 125000 | 0 | 0.00
2247 | 20.93 | 20.56 | 37.2 | -64 | 10.2 | 12 | 125000 | 0 | 0.00
2248 | 20.94 | 20.62 | 37.2 | -60 | 11.8 | 12 | 125000 | 0 | 0.00
2249 | 20.91 | 20.62 | 37.2 | -41 | 7.2 | 12 | 125000 | 0 | 0.00
2250 | 20.95 | 20.62 | 37.2 | -64 | 12 | 12 | 125000 | 0 | 0.00
2251 | 20.97 | 20.62 | 37.2 | -43 | 10 | 12 | 125000 | 0 | 0.00
2252 | 20.95 | 20.62 | 37.1 | -43 | 10.8 | 12 | 125000 | 0 | 0.00
2253 | 20.97 | 20.62 | 37.1 | -63 | 13.2 | 12 | 125000 | 0 | 0.00
2254 | 20.97 | 20.62 | 37.1 | -42 | 10.2 | 12 | 125000 | 0 | 0.00
2255 | 20.95 | 20.56 | 37.1 | -64 | 10.8 | 12 | 125000 | 0 | 0.00
2256 | 20.95 | 20.62 | 37.1 | -61 | 11.5 | 12 | 125000 | 0 | 0.00
2257 | 20.95 | 20.62 | 37.2 | -64 | 9.5 | 12 | 125000 | 0 | 0.00
2258 | 20.98 | 20.62 | 37.1 | -63 | 10.8 | 12 | 125000 | 0 | 0.00
2259 | 20.97 | 20.62 | 37.1 | -42 | 11.5 | 12 | 125000 | 0 | 0.00
2260 | 21 | 20.62 | 37.1 | -45 | 10.2 | 12 | 125000 | 0 | 0.00
2261 | 20.97 | 20.62 | 37.1 | -62 | 10 | 12 | 125000 | 0 | 0.00
2262 | 20.98 | 20.62 | 37 | -45 | 10 | 12 | 125000 | 0 | 0.00
2263 | 20.98 | 20.62 | 37.1 | -65 | 8.5 | 12 | 125000 | 0 | 0.00
2264 | 20.97 | 20.62 | 37.1 | -65 | 12.8 | 12 | 125000 | 0 | 0.00
LDS03A-DOOR
Nr of Transmissions
f_cnt | Door open | RSSI | SNR | SF | BDw | Packets Lost | Packet Loss Ratio |  |  | 50
1879 | OPEN | -31 | 7.5 | 12 | 125000 | 0 | 0.00
1880 | OPEN | -49 | 8.2 | 12 | 125000 | 0 | 0.00
1881 | OPEN | -48 | 8.5 | 12 | 125000 | 0 | 0.00
1882 | OPEN | -47 | 6.8 | 12 | 125000 | 0 | 0.00
1883 | OPEN | -48 | 8.2 | 12 | 125000 | 0 | 0.00
1884 | OPEN | -49 | 8 | 12 | 125000 | 0 | 0.00
1885 | OPEN | -49 | 8.8 | 12 | 125000 | 0 | 0.00
1886 | OPEN | -30 | 8.5 | 12 | 125000 | 0 | 0.00
1887 | OPEN | -32 | 7 | 12 | 125000 | 0 | 0.00
1888 | OPEN | -49 | 7.8 | 12 | 125000 | 0 | 0.00
1889 | OPEN | -32 | 9.2 | 12 | 125000 | 0 | 0.00
1890 | OPEN | -50 | 8.5 | 12 | 125000 | 0 | 0.00
1891 | OPEN | -49 | 7.5 | 12 | 125000 | 0 | 0.00
1892 | OPEN | -30 | 7 | 12 | 125000 | 0 | 0.00
1893 | OPEN | -50 | 8.2 | 12 | 125000 | 0 | 0.00
1894 | OPEN | -32 | 9.2 | 12 | 125000 | 0 | 0.00
1895 | OPEN | -30 | 9.2 | 12 | 125000 | 0 | 0.00
1896 | OPEN | -48 | 7 | 12 | 125000 | 0 | 0.00
1897 | OPEN | -51 | 8 | 12 | 125000 | 0 | 0.00
1898 | OPEN | -50 | 6.2 | 12 | 125000 | 0 | 0.00
1899 | OPEN | -50 | 7 | 12 | 125000 | 0 | 0.00
1900 | OPEN | -30 | 7.8 | 12 | 125000 | 0 | 0.00
1901 | OPEN | -48 | 9.2 | 12 | 125000 | 0 | 0.00
1902 | OPEN | -32 | 8 | 12 | 125000 | 0 | 0.00
1903 | OPEN | -31 | 9 | 12 | 125000 | 0 | 0.00
1904 | OPEN | -50 | 8 | 12 | 125000 | 0 | 0.00
1905 | OPEN | -31 | 9 | 12 | 125000 | 0 | 0.00
1906 | OPEN | -50 | 6.5 | 12 | 125000 | 0 | 0.00
1907 | OPEN | -49 | 7.2 | 12 | 125000 | 0 | 0.00
1908 | OPEN | -51 | 7.2 | 12 | 125000 | 0 | 0.00
1909 | OPEN | -49 | 8.5 | 12 | 125000 | 0 | 0.00
1910 | OPEN | -31 | 8.5 | 12 | 125000 | 0 | 0.00
1911 | OPEN | -31 | 8 | 12 | 125000 | 0 | 0.00
1912 | OPEN | -48 | 7.5 | 12 | 125000 | 0 | 0.00
1913 | OPEN | -49 | 8.8 | 12 | 125000 | 0 | 0.00
1914 | OPEN | -51 | 6.2 | 12 | 125000 | 0 | 0.00
1915 | OPEN | -48 | 8.2 | 12 | 125000 | 0 | 0.00
1916 | OPEN | -32 | 6.5 | 12 | 125000 | 0 | 0.00
1917 | OPEN | -51 | 8.5 | 12 | 125000 | 0 | 0.00
1918 | OPEN | -31 | 7 | 12 | 125000 | 0 | 0.00
1919 | OPEN | -30 | 8 | 12 | 125000 | 0 | 0.00
1920 | OPEN | -50 | 6.8 | 12 | 125000 | 0 | 0.00
1921 | OPEN | -49 | 8.5 | 12 | 125000 | 0 | 0.00
1922 | OPEN | -50 | 7 | 12 | 125000 | 0 | 0.00
1923 | OPEN | -49 | 6.5 | 12 | 125000 | 0 | 0.00
1924 | OPEN | -50 | 8 | 12 | 125000 | 0 | 0.00
1925 | OPEN | -51 | 8 | 12 | 125000 | 0 | 0.00
1926 | OPEN | -31 | 9.5 | 12 | 125000 | 0 | 0.00
1927 | OPEN | -31 | 8.8 | 12 | 125000 | 0 | 0.00
1928 | OPEN | -49 | 7.5 | 12 | 125000 | 0 | 0.00
LSNv2-D22-TEMPERATURE
Nr Transmissions
fcnt | temp_white | temp_red | RSSI | SNR | SF | Bdw | Packets Lost | Packet Loss Ratio |  | 43
2280 | 20.1 | 20.2 | -58 | 11.2 | 12 | 125000 | 0 | 0.00
2281 | 20.1 | 20.2 | -40 | 12.2 | 12 | 125000 | 0 | 0.00
2282 | 20.1 | 20.2 | -64 | 7 | 12 | 125000 | 0 | 0.00
2283 | 20.1 | 20.2 | -60 | 10.8 | 12 | 125000 | 0 | 0.00
2284 | 20.1 | 20.2 | -62 | 11.5 | 12 | 125000 | 0 | 0.00
2285 | 20.1 | 20.2 | -59 | 12.8 | 12 | 125000 | 0 | 0.00
2286 | 20.2 | 20.2 | -39 | 11 | 12 | 125000 | 0 | 0.00
2287 | 20.1 | 20.2 | -45 | 6.8 | 12 | 125000 | 0 | 0.00
2288 | 20.2 | 20.3 | -61 | 12.2 | 12 | 125000 | 0 | 0.00
2289 | 20.2 | 20.3 | -59 | 11.8 | 12 | 125000 | 0 | 0.00
2290 | 20.2 | 20.3 | -65 | 7.5 | 12 | 125000 | 0 | 0.00
2291 | 20.2 | 20.3 | -63 | 12.5 | 12 | 125000 | 0 | 0.00
2292 | 20.2 | 20.3 | -38 | 6.8 | 12 | 125000 | 0 | 0.00
2293 | 20.2 | 20.3 | -61 | 13 | 12 | 125000 | 0 | 0.00
2294 | 20.2 | 20.3 | -40 | 9.5 | 12 | 125000 | 0 | 0.00
2295 | 20.2 | 20.3 | -41 | 10.2 | 12 | 125000 | 0 | 0.00
2296 | 20.2 | 20.3 | -61 | 12 | 12 | 125000 | 0 | 0.00
2297 | 20.2 | 20.3 | -58 | 13 | 12 | 125000 | 0 | 0.00
2298 | 20.2 | 20.3 | -63 | 11.8 | 12 | 125000 | 0 | 0.00
2299 | 20.2 | 20.3 | -64 | 7.2 | 12 | 125000 | 0 | 0.00
2300 | 20.2 | 20.3 | -59 | 9.2 | 12 | 125000 | 0 | 0.00
2301 | 20.3 | 20.3 | -60 | 12 | 12 | 125000 | 0 | 0.00
2302 | 20.3 | 20.3 | -40 | 11 | 12 | 125000 | 0 | 0.00
2303 | 20.3 | 20.3 | -39 | 7 | 12 | 125000 | 0 | 0.00
2304 | 20.3 | 20.3 | -57 | 10.5 | 12 | 125000 | 0 | 0.00
2305 | 20.3 | 20.3 | -38 | 13.5 | 12 | 125000 | 0 | 0.00
2306 | 20.3 | 20.3 | -60 | 7.8 | 12 | 125000 | 0 | 0.00
2307 | 20.3 | 20.3 | -60 | 8 | 12 | 125000 | 0 | 0.00
2308 | 20.3 | 20.3 | -38 | 7.5 | 12 | 125000 | 0 | 0.00
2309 | 20.3 | 20.3 | -59 | 12.2 | 12 | 125000 | 0 | 0.00
2310 | 20.3 | 20.3 | -39 | 11 | 12 | 125000 | 0 | 0.00
2311 | 20.3 | 20.3 | -46 | 7 | 12 | 125000 | 0 | 0.00
2312 | 20.3 | 20.3 | -60 | 12.5 | 12 | 125000 | 0 | 0.00
2313 | 20.3 | 20.3 | -58 | 13.2 | 12 | 125000 | 0 | 0.00
2314 | 20.3 | 20.3 | -59 | 7 | 12 | 125000 | 0 | 0.00
2316 | 20.3 | 20.3 | -61 | 11 | 12 | 125000 | 1 | 2.70
2317 | 20.3 | 20.3 | -58 | 8.8 | 12 | 125000 | 1 | 2.63
2318 | 20.3 | 20.3 | -40 | 12 | 12 | 125000 | 1 | 2.56
2319 | 20.3 | 20.4 | -43 | 7.8 | 12 | 125000 | 1 | 2.50
2320 | 20.3 | 20.3 | -59 | 13.5 | 12 | 125000 | 1 | 2.44
2321 | 20.3 | 20.3 | -39 | 8.2 | 12 | 125000 | 1 | 2.38
2322 | 20.3 | 20.3 | -58 | 7.5 | 12 | 125000 | 1 | 2.33

## nave
S31-TEMPERATURE | [9 empty] | Nr of transmissions
f_cnt | Date | Temperature | Humidity | RSSI | SNR | SF | Bw | Packets Lost | Packet Loss Ratio | 44
2182 | 45687.734 | 15.7 | 47.6 | -70 | 10.2 | 12 | 125000 | 0 | 0.00
2183 | 45687.736 | 15.7 | 47.6 | -84 | 9.2 | 12 | 125000 | 0 | 0.00
2184 | 45687.738 | 15.7 | 47.9 | -84 | 7.2 | 12 | 125000 | 0 | 0.00
2185 | 45687.7401 | 15.7 | 48 | -90 | 9 | 12 | 125000 | 0 | 0.00
2186 | 45687.7421 | 15.7 | 48.2 | -88 | 9.8 | 12 | 125000 | 0 | 0.00
2187 | 45687.7441 | 15.7 | 48.5 | -71 | 9.2 | 12 | 125000 | 0 | 0.00
2188 | 45687.7461 | 15.6 | 48.6 | -72 | 6.8 | 12 | 125000 | 0 | 0.00
2189 | 45687.7481 | 15.7 | 48.7 | -86 | 8 | 12 | 125000 | 0 | 0.00
2190 | 45687.7502 | 15.6 | 48.8 | -85 | 9.5 | 12 | 125000 | 0 | 0.00
2191 | 45687.7522 | 15.6 | 48.9 | -86 | 9.2 | 12 | 125000 | 0 | 0.00
2192 | 45687.7542 | 15.6 | 49.1 | -90 | 7.8 | 12 | 125000 | 0 | 0.00
2193 | 45687.7562 | 15.6 | 49.2 | -70 | 7 | 12 | 125000 | 0 | 0.00
2194 | 45687.7583 | 15.6 | 49.2 | -86 | 10.2 | 12 | 125000 | 0 | 0.00
2195 | 45687.7603 | 15.6 | 49.3 | -71 | 9.5 | 12 | 125000 | 0 | 0.00
2196 | 45687.7623 | 15.6 | 49.4 | -70 | 6.2 | 12 | 125000 | 0 | 0.00
2197 | 45687.7643 | 15.6 | 49.5 | -88 | 10.8 | 12 | 125000 | 0 | 0.00
2198 | 45687.7664 | 15.5 | 49.6 | -85 | 9.5 | 12 | 125000 | 0 | 0.00
2199 | 45687.7684 | 15.5 | 49.8 | -84 | 8.5 | 12 | 125000 | 0 | 0.00
2200 | 45687.7704 | 15.5 | 49.7 | -85 | 7.5 | 12 | 125000 | 0 | 0.00
2201 | 45687.7724 | 15.5 | 49.8 | -70 | 7.2 | 12 | 125000 | 0 | 0.00
2202 | 45687.7745 | 15.5 | 49.9 | -84 | 8.5 | 12 | 125000 | 0 | 0.00
2203 | 45687.7765 | 15.5 | 50.1 | -70 | 10.2 | 12 | 125000 | 0 | 0.00
2204 | 45687.7785 | 15.4 | 50 | -67 | 9.5 | 12 | 125000 | 0 | 0.00
2205 | 45687.7806 | 15.4 | 49.9 | -87 | 10.5 | 12 | 125000 | 0 | 0.00
2206 | 45687.7826 | 15.4 | 49.9 | -70 | 9.5 | 12 | 125000 | 0 | 0.00
2207 | 45687.7846 | 15.4 | 49.9 | -85 | 8.5 | 12 | 125000 | 0 | 0.00
2208 | 45687.7866 | 15.4 | 50 | -84 | 10.8 | 12 | 125000 | 0 | 0.00
2209 | 45687.7887 | 15.4 | 49.9 | -71 | 7.2 | 12 | 125000 | 0 | 0.00
2210 | 45687.7907 | 15.4 | 50 | -85 | 9.5 | 12 | 125000 | 0 | 0.00
2211 | 45687.7927 | 15.4 | 49.9 | -70 | 9.8 | 12 | 125000 | 0 | 0.00
2212 | 45687.7947 | 15.4 | 49.7 | -70 | 9 | 12 | 125000 | 0 | 0.00
2213 | 45687.7968 | 15.4 | 49.6 | -86 | 10 | 12 | 125000 | 0 | 0.00
2214 | 45687.7988 | 15.3 | 49.7 | -71 | 10.5 | 12 | 125000 | 0 | 0.00
2215 | 45687.8008 | 15.3 | 49.5 | -85 | 6.2 | 12 | 125000 | 0 | 0.00
2216 | 45687.8028 | 15.3 | 49.6 | -89 | 8.8 | 12 | 125000 | 0 | 0.00
2217 | 45687.8049 | 15.3 | 49.5 | -72 | 6.8 | 12 | 125000 | 0 | 0.00
2218 | 45687.8069 | 15.3 | 49.5 | -85 | 10 | 12 | 125000 | 0 | 0.00
2219 | 45687.8089 | 15.3 | 49.5 | -70 | 9.5 | 12 | 125000 | 0 | 0.00
2220 | 45687.8109 | 15.3 | 49.4 | -71 | 8.2 | 12 | 125000 | 0 | 0.00
2221 | 45687.813 | 15.3 | 49.4 | -88 | 9.2 | 12 | 125000 | 0 | 0.00
2222 | 45687.815 | 15.3 | 49.4 | -87 | 9.5 | 12 | 125000 | 0 | 0.00
2223 | 45687.817 | 15.3 | 49.3 | -84 | 9.5 | 12 | 125000 | 0 | 0.00
2225 | 45687.8211 | 15.2 | 49.4 | -85 | 8.8 | 12 | 125000 | 1 | 2.27

## piso tecnico
DDS45-ULTRASSONIC | [7 empty] | Nr of transmissions
fcnt | distance | RSSI | SNR | SF | Bdw | Packets Lost | Packet Loss Ratio | 42
2485 | 83 mm | -92 | 3.5 | 12 | 125000 | 0 | 0.00
2486 | 83 mm | -105 | 4.8 | 12 | 125000 | 0 | 0.00
2487 | 81 mm | -106 | 4 | 12 | 125000 | 0 | 0.00
2488 | 82 mm | -91 | 4.2 | 12 | 125000 | 0 | 0.00
2489 | 81 mm | -106 | 4.2 | 12 | 125000 | 0 | 0.00
2490 | 82 mm | -91 | 5 | 12 | 125000 | 0 | 0.00
2491 | 81 mm | -92 | 5 | 12 | 125000 | 0 | 0.00
2492 | 81 mm | -107 | 3.5 | 12 | 125000 | 0 | 0.00
2494 | 81 mm | -107 | 3.5 | 12 | 125000 | 1 | 10.00
2495 | 82 mm | -106 | 4 | 12 | 125000 | 1 | 09.09
2496 | 81 mm | -107 | 3.8 | 12 | 125000 | 1 | 8.33
2497 | 82 mm | -107 | 3.5 | 12 | 125000 | 1 | 7.69
2498 | 82 mm | -91 | 3.5 | 12 | 125000 | 1 | 7.14
2500 | 81 mm | -108 | 4 | 12 | 125000 | 2 | 12.50
2501 | 81 mm | -91 | 4.2 | 12 | 125000 | 2 | 11.76
2502 | 81 mm | -106 | 3.8 | 12 | 125000 | 2 | 11.11
2503 | 83 mm | -106 | 3.5 | 12 | 125000 | 2 | 10.53
2504 | 81 mm | -106 | 4.2 | 12 | 125000 | 2 | 10.00
2505 | 85 mm | -107 | 3.5 | 12 | 125000 | 2 | 9.52
2506 | 81 mm | -89 | 4.2 | 12 | 125000 | 2 | 09.09
2507 | 81 mm | -90 | 4.8 | 12 | 125000 | 2 | 8.70
2508 | 81 mm | -108 | 3 | 12 | 125000 | 2 | 8.33
2509 | 85 mm | -92 | 3.8 | 12 | 125000 | 2 | 8.00
2510 | 84 mm | -107 | 3.8 | 12 | 125000 | 2 | 7.69
2511 | 81 mm | -108 | 3.8 | 12 | 125000 | 2 | 7.41
2512 | 85 mm | -93 | 4.2 | 12 | 125000 | 2 | 7.14
2513 | 84 mm | -108 | 3.2 | 12 | 125000 | 2 | 6.90
2515 | 85 mm | -92 | 5.8 | 12 | 125000 | 3 | 9.68
2516 | 81 mm | -109 | 4 | 12 | 125000 | 3 | 9.38
2517 | 81 mm | -90 | 4.5 | 12 | 125000 | 3 | 09.09
2518 | 83 mm | -107 | 3.5 | 12 | 125000 | 3 | 8.82
2519 | 81 mm | -107 | 3.5 | 12 | 125000 | 3 | 8.57
2520 | 81 mm | -108 | 3.8 | 12 | 125000 | 3 | 8.33
2521 | 81 mm | -109 | 3.2 | 12 | 125000 | 3 | 8.11
2522 | 81 mm | -91 | 4 | 12 | 125000 | 3 | 7.89
2523 | 81 mm | -92 | 3.5 | 12 | 125000 | 3 | 7.69
2524 | 81 mm | -109 | 4.2 | 12 | 125000 | 3 | 7.50
2525 | 81 mm | -110 | 2.2 | 12 | 125000 | 3 | 7.32
2526 | 81 mm | -112 | 1.2 | 12 | 125000 | 3 | 7.14